## Instructions
Instructions:
Go to conversion chart >>

## CSI to Uniformat II
CSI to Uniformat II Conversion Chart
Instructions: Click arrow to sort or filter by desired column.
See Detailed Instructions >>
CSI Component Description | CSI DIVISION | Uniformat II Division | Uniformat II Building Component
Foundations Performance Requirements | 01 82 13 | A10 | Foundations
Basement Construction Performance Requirements | 01 82 16 | A20 | Basement Construction
Basement Construction Performance Requirements | 01 82 16 | B10 | Superstructure
Vertical Exterior Enclosure Performance Requirements | 01 83 16 | B20 | Exterior Closure
Horizontal Exterior Enclosure Performance Requirements | 01 83 16 | B30 | Roofing
Interior Construction Performance Requirements | 01 84 13 | C10 | Interior Construction
Interior Finishes Performance Requirements | 01 84 19 | C20 | Interior Finishes
Stair Finish Performance Requirements | 01 84 19 | C20 | Staircases
Conveying Equipment Performance | 01 85 00 | D10 | Conveying Systems
Fire Suppression Performance Requirements | 01 86 13 | D40 | Fire Protection
Plumbing Performance Requirements | 01 86 16 | D20 | Plumbiing
HVAC Performance Requirements | 01 86 19 | D30 | HVAC
Electrical Performance Requirements | 01 86 26 | D50 | Electrical
Electronic Safety & Security Performance Requirements | 01 86 33 | D40 | Fire Protection
Equipment Performance Requirements | 01 87 13 | E10 | Equipment
Furnishings Performance Requirements | 01 87 16 | E20 | Furnishings
Special Construction Performance Requirements | 01 88 13 | F10 | Special Construction
Site Preparation Performance Requirements | 01 89 13 | G10 | Site Preparation
Site Improvements Performance Requirements | 01 89 16 | G20 | Site Improvements
Site Plumbing Utilities Performance | 01 89 19 | G30 | Liquid & Gas Site Utilities
Site Electrical Utilities Performance | 01 89 26 | G40 | Electrical Site Improvements
Site Elements Demolition | 02 41 00 | G10 | Site Preparation
Site Elements Relocations | 02 41 00 | G10 | Site Preparation
Structure Demolition | 02 41 16 | F30 | Demolition
Selective Demolition | 02 41 19 | F30 | Demolition
Structure Moving | 02 43 00 | F30 | Demolition
Site Remediation | 02 50 00 | G10 | Site Preparation
Hazardous Materials Remediation | 02 80 00 | F20 | Facility Remediation
Transportation and Disposal of Hazardous Materials | 02 81 00 | F20 | Facility Remediation
Asbestos Remediation | 02 82 00 | F20 | Facility Remediation
Lead Remediation | 02 83 00 | F20 | Facility Remediation
Polychlorinate Biphenyl (PCB) Remediation | 02 84 00 | F20 | Facility Remediation
Mold Remediation | 02 85 00 | F20 | Facility Remediation
Common Work Results for Concrete | 03 05 00 | A10 | Foundations
Common Work Results for Concrete | 03 05 00 | A20 | Basement Construction
Common Work Results for Concrete | 03 05 00 | B10 | Superstructure
Common Work Results for Concrete | 03 05 00 | B20 | Exterior Closure
Void Forms | 03 11 00 | A10 | Foundations
Cast-In-Place Concrete | 03 30 00 | A10 | Foundations
Concrete Reinforcement | 03 30 00 | A10 | Foundations
Footings/Piers – Cast-In-Place Concrete | 03 30 00 | A10 | Foundations
Foundation Walls – Cast-In-Place Concrete | 03 30 00 | A10 | Foundations
Cast-In-Place Concrete | 03 30 00 | A20 | Basement Construction
Cast-In-Place Concrete | 03 30 00 | B10 | Superstructure
Concrete Forms and Accessories | 03 30 00 | B10 | Superstructure
Concrete Reinforcement | 03 30 00 | B10 | Superstructure
Cast-In-Place Concrete | 03 30 00 | B20 | Exterior Closure
Foundation Walls – Precast Concrete | 03 40 00 | A10 | Foundations
Precast Concrete | 03 40 00 | A10 | Foundations
Precast Concrete | 03 40 00 | A20 | Basement Construction
Precast Concrete | 03 40 00 | B10 | Superstructure
Precast Concrete | 03 40 00 | B20 | Exterior Closure
Cast Decks and Underlayment | 03 50 00 | B10 | Superstructure
Grouting | 03 60 00 | B10 | Superstructure
Mass Concrete | 03 70 00 | B10 | Superstructure
Masonry Maintenance and Cleaning | 04 01 20 | B20 | Exterior Closure
Common Work Results for Masonry | 04 05 00 | A10 | Foundations
Common Work Results for Masonry | 04 05 00 | A20 | Basement Construction
Common Work Results for Masonry | 04 05 00 | B10 | Superstructure
Common Work Results for Masonry | 04 05 00 | B20 | Exterior Closure
Foundation Walls – Unit Masonry | 04 20 00 | A10 | Foundations
Unit Masonry | 04 20 00 | A20 | Basement Construction
Unit Masonry | 04 20 00 | B10 | Superstructure
Unit Masonry | 04 20 00 | B20 | Exterior Closure
Exterior Stone Cladding | 04 42 00 | B20 | Exterior Closure
Stone Masonry | 04 43 00 | B20 | Exterior Closure
Refractory Masonry | 04 50 00 | B20 | Exterior Closure
Corrosion-Resistant Masonry | 04 60 00 | B20 | Exterior Closure
Manufactured Masonry | 04 70 00 | B20 | Exterior Closure
Common Work Results for Metals | 05 05 00 | B10 | Superstructure
Common Work Results for Metals | 05 05 00 | B20 | Exterior Closure
Structural Metal Framing | 05 10 00 | B10 | Superstructure
Metal Joists | 05 20 00 | B10 | Superstructure
Metal Decking | 05 30 00 | B10 | Superstructure
Cold-Formed Metal Framing | 05 40 00 | B10 | Superstructure
Metal Fabrications | 05 50 00 | B10 | Superstructure
Rough Carpentry | 06 10 00 | C10 | Interior Construction
Finish Carpentry | 06 20 00 | C10 | Interior Construction
Architectural Woodwork | 06 40 00 | C10 | Interior Construction
Plastic Fabrications | 06 60 00 | C10 | Interior Construction
Common Work Results for Thermal & Moisture Protection | 07 05 00 | B10 | Superstructure
Common Work Results for Thermal & Moisture Protection | 07 05 00 | B20 | Exterior Closure
Common Work Results for Thermal & Moisture Protection | 07 05 00 | B30 | Roofing
Common Work Results for Thermal & Moisture Protection | 07 05 00 | C10 | Interior Construction
Dampproofing and Waterproofing | 07 10 00 | B20 | Exterior Closure
Insulation | 07 20 00 | B20 | Exterior Closure
Insulation | 07 20 00 | B30 | Roofing
Roof Shingles and Shakes | 07 31 00 | B30 | Roofing
Roof Tiles | 07 32 00 | B30 | Roofing
Roof Panels | 07 41 00 | B30 | Roofing
Low-Slope Membrane Roofing | 07 50 00 | B30 | Roofing
Flashing | 07 60 00 | B20 | Exterior Closure
Flashing | 07 60 00 | B30 | Roofing
Sheet Metal Roofing | 07 61 00 | B30 | Roofing
Expansion Joints | 07 71 29 | B30 | Roofing
Roof Accessories | 07 72 00 | B30 | Roofing
Roof Hatches | 07 72 33 | B30 | Roofing
Joint Sealants | 07 92 00 | B20 | Exterior Closure
Expansion Control | 07 95 00 | B10 | Superstructure
Common Work Results for Openings | 08 05 00 | B20 | Exterior Closure
Common Work Results for Openings | 08 05 00 | B30 | Roofing
Common Work Results for Openings | 08 05 00 | C10 | Interior Construction
Doors and Frames | 08 10 00 | B20 | Exterior Closure
Doors and Frames | 08 10 00 | C10 | Interior Construction
Wood Doors | 08 14 00 | C10 | Interior Construction
Plastic Doors | 08 15 00 | C10 | Interior Construction
Specialty Door Frames | 08 30 00 | B20 | Exterior Closure
Specialty Doors | 08 30 00 | C10 | Interior Construction
Entrances, Storefronts and Curtainwalls | 08 40 00 | B20 | Exterior Closure
Entrances, Storefronts and Curtainwalls | 08 40 00 | C10 | Interior Construction
Windows | 08 50 00 | B20 | Exterior Closure
Interior Windows | 08 50 00 | C10 | Interior Construction
Roof Windows and Skylights | 08 60 00 | B20 | Exterior Closure
Roof Windows and Skylights | 08 60 00 | B30 | Roofing
Hardware | 08 70 00 | B20 | Exterior Closure
Hardware | 08 70 00 | C10 | Interior Construction
Glazing | 08 80 00 | B20 | Exterior Closure
Louvers and Vents | 08 90 00 | B20 | Exterior Closure
Common Work Results for Finishes | 09 05 00 | C10 | Interior Construction
Common Work Results for Finishes | 09 05 00 | C20 | Interior Finishes
Common Work Results for Finishes | 09 05 00 | C20 | Staircases
Plaster and Gypsum Board | 09 20 00 | C10 | Interior Construction
Plaster and Gypsum Board | 09 20 00 | C20 | Interior Finishes
Tiling | 09 30 00 | C20 | Interior Finishes
Tile Stair Finish | 09 30 00 | C20 | Staircases
Ceilings | 09 50 00 | C20 | Interior Finishes
Flooring | 09 60 00 | C20 | Interior Finishes
Masonry Stair Finish | 09 63 00 | C20 | Staircases
Wood Stair Finish | 09 64 00 | C20 | Staircases
Resilient Stair Finish | 09 65 00 | C20 | Staircases
Terrazzo Stair Finish | 09 66 00 | C20 | Staircases
Carpeted Stair Finish | 09 68 00 | C20 | Staircases
Wall Finishes | 09 70 00 | C20 | Interior Finishes
Acoustic Treatment | 09 80 00 | C20 | Interior Finishes
Painting and Coating | 09 90 00 | C20 | Interior Finishes
Common Work Results for Specialties | 10 05 00 | B20 | Exterior Closure
Common Work Results for Specialties | 10 05 00 | C10 | Interior Construction
Exterior Signage | 10 14 00 | G20 | Site Improvements
Interior Demountable Partitions | 10 22 19 | C10 | Interior Construction
Exterior Protection | 10 71 00 | B20 | Exterior Closure
Covers and Shelters | 10 73 00 | G20 | Site Improvements
Manufactured Canopies | 10 73 16 | F10 | Special Construction
Flagpoles | 10 75 00 | G20 | Site Improvements
Vehicle and Pedestrian Equipment | 11 10 00 | E10 | Equipment
Vehicle Servicing Equipment | 11 11 00 | E10 | Equipment
Interior Parking Control Equipment | 11 12 00 | E10 | Equipment
Exterior Parking Control Equipment | 11 12 00 | G20 | Site Improvements
Loading Dock Equipment | 11 13 00 | E10 | Equipment
Interior Pedestrian Control Equipment | 11 14 00 | E10 | Equipment
Exterior Pedestrian Control Equipment | 11 14 00 | G20 | Site Improvements
Vault Equipment | 11 16 00 | E10 | Equipment
Teller and Service Equipment | 11 17 00 | E10 | Equipment
Security Equipment | 11 18 00 | E10 | Equipment
Valuable Material Storage | 11 18 23 | E10 | Equipment
Commercial Equipment | 11 20 00 | E10 | Equipment
Mercantile and Service Equipment | 11 21 00 | E10 | Equipment
Refrigerated Display Equipment | 11 22 00 | E10 | Equipment
Commercial Laundry and Dry Cleaning Equipment | 11 23 00 | E10 | Equipment
Maintenance Equipment | 11 24 00 | E10 | Equipment
Hospitality Equipment | 11 25 00 | E10 | Equipment
Unit Kitchens | 11 26 00 | E10 | Equipment
Photographic Processing Equipment | 11 27 00 | E10 | Equipment
Office Equipment | 11 28 00 | E10 | Equipment
Postal, Packaging and Shipping Equipment | 11 29 00 | E10 | Equipment
Residential Equipment | 11 30 00 | E10 | Equipment
Residential Appliances | 11 31 00 | E10 | Equipment
Retractable Stairs | 11 33 00 | E10 | Equipment
Residential Ceiling Fans | 11 34 00 | E10 | Equipment
Foodservice Equipment | 11 40 00 | E10 | Equipment
Institutional Equipment | 11 50 00 | E10 | Equipment
Library Equipment | 11 51 00 | E10 | Equipment
Audio-Visual Equipment | 11 52 00 | E10 | Equipment
Laboratory Equipment | 11 53 00 | E10 | Equipment
Planetarium Equipment | 11 55 00 | E10 | Equipment
Observatory Equipment | 11 56 00 | E10 | Equipment
Vocational Shop Equipment | 11 57 00 | E10 | Equipment
Exhibit Equipment | 11 59 00 | E10 | Equipment
Industrial and Process Equipment | 11 60 00 | E10 | Equipment
Theatrical and Stage Equipment | 11 61 00 | E10 | Equipment
Musical Equipment | 11 62 00 | E10 | Equipment
Athletic Equipment | 11 66 00 | E10 | Equipment
Recreational Equipment | 11 67 00 | E10 | Equipment
Athletic Equipment | 11 68 00 | G20 | Site Improvements
Playfield Equipment and Structures | 11 68 00 | G20 | Site Improvements
Healthcare Equipment | 11 70 00 | E10 | Equipment
Solid Waste Handling Equipment | 11 82 00 | E10 | Equipment
Other Equipment | 11 90 00 | E10 | Equipment
Religious Equipment | 11 91 00 | E10 | Equipment
Agricultural Equipment | 11 92 00 | E10 | Equipment
Horticultural Equipment | 11 93 00 | E10 | Equipment
Arts and Crafts Equipment | 11 95 00 | E10 | Equipment
Decontamination Equipment | 11 95 00 | E10 | Equipment
Movable Art | 12 10 00 | E20 | Furnishings
Fixed Art | 12 11 00 | E20 | Furnishings
Window Treatments | 12 20 00 | E20 | Furnishings
Casework | 12 30 00 | E20 | Furnishings
Specialty Casework | 12 35 00 | E20 | Furnishings
Countertops | 12 36 00 | E20 | Furnishings
Accessories | 12 40 00 | E20 | Furnishings
Furniture | 12 50 00 | E20 | Furnishings
Fixed Multiple Seating | 12 60 00 | E20 | Furnishings
Movable Multiple Seating | 12 60 00 | E20 | Furnishings
Other Fixed Furnishings | 12 90 00 | E20 | Furnishings
Other Movable Furniture | 12 90 00 | E20 | Furnishings
Site Furnishings | 12 93 00 | G20 | Site Improvements
Pools | 13 11 00 | F10 | Special Construction
Exterior Fountains | 13 12 13 | G20 | Site Improvements
Interior Fountains | 13 12 23 | F10 | Special Construction
Aquariums | 13 13 00 | F10 | Special Construction
Ice Rinks | 13 18 00 | F10 | Special Construction
Animal Containment | 13 19 00 | F10 | Special Construction
Manufactured/Fabricated Rooms | 13 20 00 | F10 | Special Construction
Athletic and Recreational Special Construction | 13 28 00 | F10 | Special Construction
Special Structures | 13 30 00 | F10 | Special Construction
Fabric Structures | 13 31 00 | F10 | Special Construction
Space Frames | 13 32 00 | F10 | Special Construction
Geodesic Structures | 13 33 00 | F10 | Special Construction
Manufacturer-Engineered Structures | 13 34 00 | F10 | Special Construction
Rammed Earth Construction | 13 35 00 | F10 | Special Construction
Towers | 13 36 00 | F10 | Special Construction
Building Modules | 13 42 00 | F10 | Special Construction
Modular Mezzanines | 13 44 00 | F10 | Special Construction
Seismic Control | 13 48 00 | F10 | Special Construction
Sound and Vibration Control | 13 48 00 | F10 | Special Construction
Radiation Protection | 13 49 00 | F10 | Special Construction
Special Instrumentation | 13 50 00 | F10 | Special Construction
Common Work Results for Conveying Equipment | 14 05 00 | D10 | Conveying Systems
Dumbwaiters | 14 10 00 | D10 | Conveying Systems
Elevators | 14 20 00 | D10 | Conveying Systems
Escalators and Moving Walks | 14 30 00 | D10 | Conveying Systems
Lifts | 14 40 00 | D10 | Conveying Systems
Turntables | 14 70 00 | D10 | Conveying Systems
Scaffolding | 14 84 00 | D10 | Conveying Systems
Other Conveying Equipment | 14 90 00 | D10 | Conveying Systems
Comments Work Results for Fire Detection and Alarm | 21 05 00 | D40 | Fire Protection
Water-Based Fire-Suppression Systems | 21 10 00 | D40 | Fire Protection
Fire-Extinguishing Systems | 21 20 00 | D40 | Fire Protection
Fire Pumps | 21 30 00 | D40 | Fire Protection
Fire-Suppression Water Storage | 21 40 00 | D40 | Fire Protection
Common Work Results for Plumbing | 22 05 00 | D20 | Plumbiing
Plumbing Piping and Pumps | 22 10 00 | D20 | Plumbiing
Facility Sanitary Drainage | 22 13 00 | D20 | Plumbiing
Facility Storm Drainage | 22 14 00 | D20 | Plumbiing
Plumbing Equipment | 22 30 00 | D20 | Plumbiing
Plumbing Fixtures | 22 40 00 | D20 | Plumbiing
Pool and Fountain Plumbing Systems | 22 50 00 | D20 | Plumbiing
Gas and Vacuum Systems for Laboratory Facilities | 22 60 00 | D20 | Plumbiing
Common Work Results for HVAC | 23 05 00 | D30 | HVAC
Testing, Adjusting, and Balancing | 23 05 93 | D30 | HVAC
HVAC Piping and Pumps | 23 20 00 | D30 | HVAC
HVAC Air Distribution | 23 30 00 | D30 | HVAC
HVAC Air Cleaning Devices | 23 40 00 | D30 | HVAC
Central Heating Equipment | 23 50 00 | D30 | HVAC
Central Cooling Equipment | 23 60 00 | D30 | HVAC
Central HVAC Equipment | 23 70 00 | D30 | HVAC
Decentralized HVAC Equipment | 23 80 00 | D30 | HVAC
Common Work Results for Integrated Automation | 25 05 00 | D30 | HVAC
Integrated Automation Facility Controls | 25 50 00 | D30 | HVAC
Airfield Lighting | 25 56 00 | G20 | Site Improvements
Playfield Lighting | 25 56 00 | G20 | Site Improvements
Common Work Results for Electrical | 26 05 00 | D50 | Electrical
Medium-Voltage Electrical Distribution | 26 10 00 | D50 | Electrical
Low-Voltage Electrical Transmission | 26 20 00 | D50 | Electrical
Facility Electrical Power Generating & Storing Equipment | 26 30 00 | D50 | Electrical
Electrical and Cathodic Protection | 26 40 00 | D50 | Electrical
Lighting | 26 50 00 | D50 | Electrical
Recreational Area Lighting | 26 56 00 | G20 | Site Improvements
Site Lighting | 26 56 00 | G40 | Electrical Site Improvements
Roadway and Parking Lot Lighting | 26 56 19 | G20 | Site Improvements
Landscape Lighting | 26 56 26 | G20 | Site Improvements
Plaza and Walkway Lighting | 26 56 33 | G20 | Site Improvements
Exterior Athletic Lighting | 26 56 68 | G20 | Site Improvements
Communications | 27 00 00 | D50 | Electrical
Common Work Results for Communications | 27 05 00 | D50 | Electrical
Audio-Video Communications | 27 40 00 | D50 | Electrical
Common Work Results for Fire Detection and Alarm | 28 05 00 | D40 | Fire Protection
Fire Detection and Alarm | 28 30 00 | D40 | Fire Protection
Site Clearing | 31 10 00 | G10 | Site Preparation
Site Earthwork | 31 20 00 | G10 | Site Preparation
Tunnels | 31 70 00 | G90 | Miscellaneous Site Construction
Tunnel Excavation | 31 71 00 | G90 | Miscellaneous Site Construction
Aviation Pavement | 32 10 00 | G20 | Site Improvements
Pedestrian Pavement | 32 10 00 | G20 | Site Improvements
Roadway and Parking Lot Pavement | 32 10 00 | G20 | Site Improvements
Aviation Pavement Curbs and Gutters | 32 16 13 | G20 | Site Improvements
Pedestrian Pavement Curbs and Gutters | 32 16 13 | G20 | Site Improvements
Roadway and Parking Lot Curbs and Gutters | 32 16 13 | G20 | Site Improvements
Aviation Pavement Appurtenances | 32 17 00 | G20 | Site Improvements
Pedestrian Pavement Appurtenances | 32 17 00 | G20 | Site Improvements
Roadway and Parking Lot Appurtenances | 32 17 00 | G20 | Site Improvements
Athletic Surfaces | 32 18 00 | G20 | Site Improvements
Recreational Surfaces | 32 18 00 | G20 | Site Improvements
Playfield Surfacing | 32 18 16 | G20 | Site Improvements
Athletic Court Fencing | 32 31 00 | G20 | Site Improvements
Fences and Gates | 32 31 00 | G20 | Site Improvements
Recreational Court Fences and Gates | 32 31 00 | G20 | Site Improvements
Retaining Walls | 32 32 00 | G20 | Site Improvements
Site Bridges | 32 34 00 | G20 | Site Improvements
Site Screening Devices | 32 35 00 | G20 | Site Improvements
Site Specialties | 32 39 00 | G20 | Site Improvements
Planting Irrigation | 32 84 00 | G20 | Site Improvements
Landscaping Activities | 32 91 00 | G20 | Site Improvements
Turf and Grasses | 32 92 00 | G20 | Site Improvements
Plants | 32 93 00 | G20 | Site Improvements
Planting Accessories | 32 94 00 | G20 | Site Improvements
Water Utilities | 33 10 00 | G30 | Liquid & Gas Site Utilities
Sanitary Sewerage Utilities | 33 30 00 | G30 | Liquid & Gas Site Utilities
Storm Drainage Utilities | 33 40 00 | G30 | Liquid & Gas Site Utilities
Site Fuel Distribution | 33 50 00 | G30 | Liquid & Gas Site Utilities
Site Energy Distribution | 33 60 00 | G30 | Liquid & Gas Site Utilities
Site Electric Distribution Systems | 33 70 00 | G40 | Electrical Site Improvements
Site Communication Systems | 33 80 00 | G50 | Other Site Construction
Site Electronic Safety and Security Systems | 33 90 00 | G50 | Other Site Construction
Airfield Signaling and Control Equipment | 34 43 00 | G20 | Site Improvements
Common Work Results for Process Integration | 41 05 00 | D10 | Conveying Systems
Material Handling | 41 22 00 | D10 | Conveying Systems
Hoists and Cables | 41 22 23 | D10 | Conveying Systems
Fall Protection Assemblies | xx xx xx | B30 | Roofing

## Uniformat II
ASTM Uniformat II Classification Standard:
Extracted, with permission, from ASTM E1557-09 Standard Classification for Building Elements and Related Sitework-UNIFORMAT II, copyright ASTM International, 100 Barr Harbor Drive, West Conshohocken, PA 19428. A copy of the complete standard may be obtai
( Click here to visit astm.org )
Level I | Level II | Level III | 1
|  | Code | 2
A Substructure | A10 Foundations | A1010 Standard Foundations | 3
|  | A1020 Special Foundations | 4
|  | A1030 Slab on Grade | 5
| A20 Basement Construction | A2010 Basement Excavation | 6
|  | A2020 Basement Walls | 7
B Shell | B10 Superstructure | B1010 Floor Construction | 8
|  | B1020 Roof Construction | 9
| B20 Exterior Enclosure | B2010 Exterior Walls | 10
|  | B2020 Exterior Windows | 11
|  | B2030 Exterior Doors | 12
| B30 Roofing | B3010 Roof Coverings | 13
|  | B3020 Roof Openings | 14
C Interiors | C10 Interior Construction | C1010 Partitions | 15
|  | C1020 Interior Doors | 16
|  | C1030 Fittings | 17
| C20 Stairs | C2010 Stair Construction | 18
|  | C2020 Stair Finishes | 19
| C30 Interior Finishes | C3010 Wall Finishes | 20
|  | C3020 Floor Finishes | 21
|  | C3030 Ceiling Finishes | 22
D Services | D10 Conveying | D1010 Elevators & Lifts | 23
|  | D1020 Escalators & Moving Walks | 24
|  | D1090 Other Conveying Systems | 25
| D20 Plumbing | D2010 Plumbing Fixtures | 26
|  | D2020 Domestic Water Distribution | 27
|  | D2030 Sanitary Waste | 28
|  | D2040 Rain Water Drainage | 29
|  | D2090 Other Plumbing Systems | 30
| D30 HVAC | D3010 Energy Supply | 31
|  | D3020 Heat Generating Systems | 32
|  | D3030 Cooling Generating Systems | 33
|  | D3040 Distribution Systems | 34
|  | D3050 Terminal & Package Units | 35
|  | D3060 Controls & Instrumentation | 36
|  | D3070 System Testing & Balancing | 37
|  | D3090 Other HVAC Systems & Equipment | 38
| D40 Fire Protection | D4010 Sprinklers | 39
|  | D4020 Standpipes | 40
|  | D4030 Fire Protection Specialties | 41
|  | D4090 Other Fire Protection Systems | 42
| D50 Electrical | D5010 Electrical Service & Distribution | 43
|  | D5020 Lighting and Branch Wiring | 44
|  | D5030 Communications & Security | 45
|  | D5090 Other Electrical Systems | 46
E Equipment & Furnishings | E10 Equipment | E1010 Commercial Equipment | 47
|  | E1020 Institutional Equipment | 48
|  | E1030 Vehicular Equipment | 49
|  | E1090 Other Equipment | 50
| E20 Furnishings | E2010 Fixed Furnishings | 51
|  | E2020 Movable Furnishings | 52
F Special Construction & Demolition | F10 Special Construction | F1010 Special Structures | 53
|  | F1020 Integrated Construction | 54
|  | F1030 Special Construction Systems | 55
|  | F1040 Special Facilities | 56
|  | F1050 Special Controls and Instrumentation | 57
| F20 Selective Building Demolition | F2010 Building Elements Demolition | 58
|  | F2020 Hazardous Components Abatement | 59
G Sitework & Utilities | G10 Site Preparation | G1010 Site Clearing | 1
|  | G1020 Site Demolition and Relocations | 2
|  | G1030 Site Earthwork | 3
|  | G1040 Hazardous Waste Removal | 4
| G20 Site Improvements | G2010 Roadways | 5
|  | G2020 Parking Lots | 6
|  | G2030 Pedestrian Paving | 7
|  | G2040 Site Development | 8
|  | G2050 Landscaping | 9
| G30 Site Mechanical Utilities | G3010 Water Supply | 10
|  | G3020 Sanitary Sewer | 11
|  | G3030 Storm Sewer | 12
|  | G3040 Heating Distribution | 13
|  | G3050 Cooling Distribution | 14
|  | G3060 Fuel Distribution | 15
|  | G3090 Other Site Mechanical Utilities | 16
| G40 Site Electrical Utilities | G4010 Electrical Distribution | 17
|  | G4020 Site Lighting | 18
|  | G4030 Site Communications & Security | 19
|  | G4090 Other Site Electrical Utilities | 20
| G90 Other Site Construction | G9010 Services and Pedestrian Tunnels | 21
|  | G9090 Other Site Systems & Equipment | 22
Z Gen'l. Cond. / OH&P | Z Gen'l. Cond. / OH&P | Z0000 General Conditions / Gen'l Requirements, OH & P | 23
The last entry above is not part of the referenced ASTM Uniformat II classification standard.