## Instructions
DGS-30-382 (Rev. 07/21)
DGS-30-382 Instructions
1) | Complete VEES Checklist project information.
(Click on the "DGS-30-382" tab below to access it.)
| a. | INSTITUTION/AGENCY
| b. | PROJECT TITLE
| c. | PROJECT NO
| d. | DATE
| e. | A/E OF RECORD
| f | CONTRACTOR
2) | Modifying the default value in the "Applicable to Project (Y/N)" column for each row to the appropriate value for this project
(Click on the "DGS-30-382" tab below to access it.)
3) | Provide a comment in the "Remark / Justification" column for all rows marked with a "N" in the "Applicable to Project (Y/N)" column
(Click on the "DGS-30-382" tab below to access it.)
4) | Include a copy of the completed DGS-30-382 Form in the Project Manual.
Visit the DEB's webpage (https://dgs.virginia.gov/deb/) for our current address, current forms, the CPSM, DEB Notices, and other useful information.

## DGS-30-382
DGS-30-382 (Rev. 07/21) | [5 empty] | VEES CHECKLIST
INSTITUTION/AGENCY:
PROJECT TITLE:
PROJECT NO: | [5 empty] | xxx-xxxxx-xxx
DATE:
A/E OF RECORD:
CONTRACTOR:
[7 empty] | Applicable to Project (Y/N) | Remarks / Justification
(IgCC 2018 as modified by the current CPSM edition)
Chapter 4 - Applicability
| 401.2 Compliance | [5 empty] | Y
|  | a. VEES Chapters 5 through 11 |  |  |  |  | Y | Identify only one compliance path: a. VEES, b. LEED, -OR- c. Green Globes
|  | b. LEED Certified |  |  |  |  | N
|  | c. Green Globes Certified |  |  |  |  | N
| 401.3 Mandatory Provisions | [5 empty] | Y
|  | 401.3.1 Minimum Electric Vehicle Charging Infrastructure |  |  |  |  | Y
|  | 401.3.2 Minimum Energy Monitoring, Tracking, and Reporting |  |  |  |  | Y
|  |  | 401.3.2.1 Basic Building Information For Energy Reporting |  |  |  | Y
Building Gross Floor Area, ft2
Energy Supply Sources Provided to the Building (i.e., Electricity, Water, Natural Gas, Steam, etc.)
Building Function (Broad Category, Primary Function, Detailed Function)
Median Source U.S. Energy Use Intensity (Median Source EUI), kBTU/ft2
Median Site U.S. Energy Use Intensity (Median Site EUI), kBTU/ft2
|  |  | 401.3.2.2 Energy Monitoring |  |  |  | Y
|  |  | 401.3.2.3 Energy Tracking |  |  |  | Y
|  |  | 401.3.2.4 Energy Reporting |  |  |  | Y
|  | 401.3.3 Documentation |  |  |  |  | Y
|  |  | 401.3.3.1 Statement of VEES Compliance |  |  |  | Y
|  |  | 401.3.3.2 Supporting Documentation |  |  |  | Y
Chapter 5 - Site Sustainability
| 501.3 Mandatory Provisions | [5 empty] | Y
|  | 501.3.1 Site Selection |  |  |  |  | Y
|  |  | 501.3.1.1 Allowable Sites |  |  |  | Y
|  |  | 501.3.1.2 Prohibited Development Activity |  |  |  | Y
|  | 501.3.2 Predesign Site Inventory and Assessment |  |  |  |  | Y
|  | 501.3.3 Plants |  |  |  |  | Y
|  |  | 501.3.3.1 Invasive Plants |  |  |  | Y
|  |  | 501.3.3.2 Greenfield Sites |  |  |  | Y
|  | 501.3.4 Stormwater Management |  |  |  |  | Y
|  |  | 501.3.4.1 Projects on Greenfields |  |  |  | Y
|  |  | 501.3.4.2 Projects on Greyfields |  |  |  | Y
|  |  | 501.3.4.3 Discharge Rate |  |  |  | Y
|  |  | 501.3.4.4 Adjoining Lots |  |  |  | Y
|  |  | 501.3.4.5 Discharges from Contaminated Soils |  |  |  | Y
|  |  | 501.3.4.6 Coal Tar Sealants |  |  |  | Y
|  | 501.3.5 Mitigation of Heat Island Effect |  |  |  |  | Y
|  |  | 501.3.5.1 Site Hardscape |  |  |  | Y
|  |  | 501.3.5.2 Walls |  |  |  | Y
|  |  | 501.3.5.3 Roofs |  |  |  | N | Section does not apply to Climate Zone 4A
|  |  | 501.3.5.4 Solar Reflectance Index |  |  |  | Y
|  |  | 501.3.5.5 Vegetated Terrace and Roofing Systems |  |  |  | Y
|  | 501.3.6 Reduction of Light Pollution |  |  |  |  | Y
|  |  | 501.3.6.1 General |  |  |  | Y
|  |  | 501.3.6.2 Backlight and Glare |  |  |  | Y
|  |  | 501.3.6.3 Uplight |  |  |  | Y
|  | 501.3.7 Mitigation of Transportation Impacts |  |  |  |  | Y
|  |  | 501.3.7.1 Pedestrian and Bicycle Connectivity |  |  |  | Y
|  |  |  | 501.3.7.1.1 Pedestrian Walkways |  |  | Y
|  |  |  | 501.3.7.1.2 Bicycle Paths |  |  | Y
|  |  | 501.3.7.2 Bicycle Parking |  |  |  | Y
|  |  |  | 501.3.7.2.1 Minimum Number of Spaces |  |  | Y
|  |  |  | 501.3.7.2.2 Location |  |  | Y
|  |  |  | 501.3.7.2.3 Horizontal Parking Racks |  |  | Y
|  |  |  | 501.3.7.2.4 Ability to Lock |  |  | Y
|  |  |  | 501.3.7.2.5 Security and Visibility |  |  | Y
|  |  |  | 501.3.7.2.6 Documentation |  |  | Y
|  |  | 501.3.7.3 Site Vehicle Provisions |  |  |  | Y
|  | 501.3.8 Building Site Waste Management |  |  |  |  | Y
|  |  | 501.3.8.1 Building Site Waste Management Plan |  |  |  | Y
Chapter 6 - Water Use Efficiency
| 601.3 Mandatory Provisions | [5 empty] | Y
|  | 601.3.1 Site Water Use Reduction |  |  |  |  | Y
|  |  | 601.3.1.1 Landscape Design |  |  |  | Y
|  |  | 601.3.1.2 Irrigation |  |  |  | Y
|  | 601.3.2 Building Water Use Reduction |  |  |  |  | Y
|  |  | 601.3.2.1 Plumbing Fixtures and Fittings |  |  |  | Y
|  |  | 601.3.2.2 Plumbing Fixtures and Fittings (Clothes Washers and Dishwashers) |  |  |  | Y
|  |  | 601.3.2.3 HVAC Systems and Equipment |  |  |  | Y
|  |  | 601.3.2.4 Roofs |  |  |  | Y
|  |  | 601.3.2.5 Commercial Food Service Operations |  |  |  | Y
|  |  | 601.3.2.6 Medical and Laboratory Facilities |  |  |  | Y
|  | 601.3.3 - Special Water Features |  |  |  |  | Y
|  | 601.3.4 - Water Consumption Measurement |  |  |  |  | Y
|  |  | 601.3.4.1 Consumption Management |  |  |  | Y
|  |  | 601.3.4.2 Consumption Data Collection |  |  |  | Y
|  |  | 601.3.4.3 Data Storage and Retrieval |  |  |  | Y
|  | 601.3.5 Water Softeners |  |  |  |  | Y
|  |  | 601.3.5.1 Demand-Initiated Regeneration |  |  |  | Y
|  |  | 601.3.5.2 Water Consumption |  |  |  | Y
|  |  | 601.3.5.3 Waste Connections |  |  |  | Y
|  |  | 601.3.5.4 Efficiency and Listing |  |  |  | Y
|  | 601.3.6 Reverse Osmosis Water Treatment Systems |  |  |  |  | Y
|  | 601.3.7 On-Site Reclaimed Water Treatment Systems |  |  |  |  | Y
|  | 601.3.8 Dual Water Supply Plumbing |  |  |  |  | Y
Chapter 7 - Energy Efficiency
| 701.2 Compliance | [5 empty] | Y
|  | a. Prescriptive Option, Section 701.4 |  |  |  |  | Y | Identify only one compliance path: a. Prescriptive -OR- b. Performance
|  | b. Performance Option, Section 701.5 |  |  |  |  | N
| 701.3 Mandatory Provisions | [5 empty] | Y
|  | 701.3.1 General - Comply with ASHRAE 90.1-2016 Sections 5.4, 6.4, 7.4, 8.4, 9.4, and 10.4 |  |  |  |  | Y
|  |  | 701.3.1.1 Continuous Air Barrier |  |  |  | Y
|  | 701.3.2 On-Site Renewable Energy Systems |  |  |  |  | Y
|  | 701.3.3 Energy Consumption Management |  |  |  |  | Y
|  |  | 701.3.3.1 Consumption Management |  |  |  | Y
|  |  | 701.3.3.2 Energy Consumption Data Collection and Display |  |  |  | Y
|  |  | 701.3.3.3 Data Storage and Retrieval |  |  |  | Y
|  | 701.3.4 Automated Demand Response |  |  |  |  | Y
|  |  | 701.3.4.1 HVAC Systems Zone Set Points |  |  |  | Y
|  |  | 701.3.4.2 Variable-Speed Equipment |  |  |  | Y
|  |  | 701.3.4.3 Lighting |  |  |  | Y
| 701.4 Prescriptive Option | [5 empty] | Y
|  | 701.4.1 General Comprehensive Prescriptive Requirements |  |  |  |  | Y
|  |  | 701.4.1.1 On-Site Renewable Energy Systems |  |  |  | Y
|  |  |  | 701.4.1.1.1 Standard Renewables Approach: Baseline On-Site Renewable Energy Systems |  |  | Y | Identify only one Renewables Approach: 701.4.1.1.1 Standard -OR- 701.4.1.1.2 Alternate
|  |  |  | 701.4.1.1.2 Alternate Renewables Approach: Reduced On-Site Renewable Energy Systems and Higher-Efficiency Equipment |  |  | N
|  | 701.4.2 Building Envelope |  |  |  |  | Y
|  |  | 701.4.2.1 Building Envelope Requirements |  |  |  | Y
|  |  | 701.4.2.2 Single-Rafter Roof Insulation |  |  |  | Y
|  |  | 701.4.2.3 High-Speed Doors |  |  |  | Y
|  |  | 701.4.2.4 Air Curtains |  |  |  | Y
|  |  | 701.4.2.5 Vertical Fenestration Area |  |  |  | Y
|  |  | 701.4.2.6 Permanent Projections |  |  |  | N | Section does not apply to Climate Zone 4A
|  |  | 701.4.2.7 SHGC of Vertical Fenestration |  |  |  | Y
|  |  | 701.4.2.8 Building Envelope Trade-Off Option |  |  |  | Y
|  |  | 701.4.2.9 Orientation |  |  |  | Y
|  | 701.4.3 Heating, Ventilating, and Air Conditioning |  |  |  |  | Y
|  |  | 701.4.3.1 Minimum Equipment Efficiencies for the Alternate Renewables Approach |  |  |  | N | Not Applicable - Alternate Renewables Approach Not Selected
|  |  | 701.4.3.2 Ventilation Controls for Densely Occupied Spaces |  |  |  | Y
|  |  | 701.4.3.3 Duct Leakage |  |  |  | Y
|  |  | 701.4.3.4 Economizers |  |  |  | Y
|  |  | 701.4.3.5 Zone Controls |  |  |  | Y
|  |  | 701.4.3.6 Fan System Power and Efficiency |  |  |  | Y
|  |  |  | 701.4.3.6.1 Fan System Power Limitation |  |  | Y
|  |  |  | 701.4.3.6.2 Fan Efficiency |  |  | Y
|  |  | 701.4.3.7 Exhaust Air Energy Recovery |  |  |  | Y
|  |  | 701.4.3.8 Kitchen Exhaust Systems |  |  |  | Y
|  |  |  | 701.4.3.8.1 |  |  | Y
|  |  |  | 701.4.3.8.2 |  |  | Y
|  |  | 701.4.3.9 Duct Insulation |  |  |  | Y
|  |  | 701.4.3.10 Automatic Control of HVAC and Lights in Hotel/Motel Guest Rooms |  |  |  | Y
|  |  |  | 701.4.3.10.1 Lighting and Switched Outlet Control |  |  | Y
|  |  |  | 701.4.3.10.2 Television Control |  |  | Y
|  |  |  | 701.4.3.10.3 HVAC Set-Point Control |  |  | Y
|  |  |  | 701.4.3.10.4 Ventilation Control |  |  | Y
|  |  |  | 701.4.3.10.5 Automatic Control |  |  | Y
|  | 701.4.4 Service Water Heating |  |  |  |  | Y
|  |  | 701.4.4.1 Equipment Efficiency for the Alternate Renewables Approach |  |  |  | N | Not Applicable - Alternate Renewables Approach Not Selected
|  |  | 701.4.4.2 Insulation for Spa Pools |  |  |  | Y
|  | 701.4.5 Power |  |  |  |  | Y
|  | 701.4.6 Lighting |  |  |  |  | Y
|  |  | 701.4.6.1 Lighting Power Allowance |  |  |  | Y
|  |  |  | 701.4.6.1.1 Interior Lighting Power Densities |  |  | Y
|  |  |  | 701.4.6.1.2 Exterior Lighting Power Densities |  |  | Y
|  |  | 701.4.6.2 Occupancy Sensor Controls with Multilevel Switching or Diming |  |  |  | Y
|  |  | 701.4.6.3 Automatic Controls for Egress and Security Lighting |  |  |  | Y
|  |  | 701.4.6.4 Controls for Exterior Sign Lighting |  |  |  | Y
|  |  |  | 701.4.6.4.1 |  |  | Y
|  |  |  | 701.4.6.4.2 |  |  | Y
|  | 701.4.7 Other Equipment |  |  |  |  | Y
|  |  | 701.4.7.1 Equipment Efficiency for the Alt. Renewables Approach |  |  |  | N | Not Applicable - Alternate Renewables Approach Not Selected
|  |  | 701.4.7.2 Supermarket Heat Recovery |  |  |  | Y
|  |  | 701.4.7.3 Energy Star Equipment |  |  |  | Y
|  |  |  | 701.4.7.3.1 Energy Star Requirements for Equipment Not Covered by Federal Appliance Efficiency Regulations |  |  | Y
|  |  |  | 701.4.7.3.2 Energy Star Requirements for Equipment Covered by Federal Appliance Efficiency Regulations for Alt. Renewables Approach |  |  | N | Not Applicable - Alternate Renewables Approach Not Selected
|  |  | 701.4.7.4 Programmable Thermostats |  |  |  | Y
|  |  | 701.4.7.5 Refrigerated Display Cases |  |  |  | Y
|  | 701.4.8 Energy Cost Budget |  |  |  |  | Y
| 701.5 Performance Option | [5 empty] | N | Not Applicable - Performance Option Not Selected
|  | 701.5.1 Annual Energy Cost |  |  |  |  | N | Not Applicable - Performance Option Not Selected
|  | 701.5.2 Annual Carbon Dioxide Equivalent (CO2e) |  |  |  |  | N | Not Applicable - Performance Option Not Selected
Chapter 8 - Indoor Environmental Quality
| 801.2 Compliance | [5 empty] | Y
|  | a1. Daylighting Prescriptive Option, Section 801.4.1 |  |  |  |  | Y | Identify either the prescriptive option or the performance option for each: Daylighting: a1. Prescriptive -OR- b1. Performance Materials: a2. Prescriptive -OR- b2. Performance Lighting: a3. Prescriptive -OR- b3. Performance
|  | a2. Materials Prescriptive Option, Section 801.4.2 |  |  |  |  | Y
|  | a3. Lighting for Presentations Prescriptive Option, Section 801.4.3 |  |  |  |  | Y
|  | b1. Daylighting Performance Option, Section 801.5.1 |  |  |  |  | N
|  | b2. Materials Performance Option, Section 801.5.2 |  |  |  |  | N
|  | b3. Lighting for Performance Prescriptive Option, Section 801.5.3 |  |  |  |  | N
| 801.3 Mandatory Provisions | [5 empty] | Y
|  | 801.3.1 Indoor Air Quality |  |  |  |  | Y
|  |  | 803.3.1.1 Minimum Ventilation rates |  |  |  | Y
|  |  | 803.3.1.2 Outdoor Air Delivery |  |  |  | Y
|  |  |  | 801.3.1.2.1 System Design for Outdoor Air Intake Measurement |  |  | Y
|  |  |  | 801.3.1.2.2 Monitoring Requirements |  |  | Y
|  |  | 803.3.1.3 Filtration Air Cleaner Requirements |  |  |  | Y
|  |  | 803.3.1.4 Building Pressure |  |  |  | Y
|  |  |  | 803.3.1.4.1 Mechanical Exhaust |  |  | Y
|  |  |  | 803.3.1.4.2 Exfiltration |  |  | Y
|  |  | 803.3.1.5 Venting of Combustion Products |  |  |  | Y
|  |  |  | 803.3.1.5.1 Vented Combustion |  |  | Y
|  |  |  | 803.3.1.5.2 Ranges in Residential Spaces |  |  | Y
|  |  | 803.3.1.6 Humidity Control |  |  |  | Y
|  |  |  | 803.3.1.6.1 Cooling Coils |  |  | Y
|  |  |  | 801.3.1.6.2 Direct Evaporative Cooling |  |  | Y
|  |  | 803.3.1.7 Environmental Tobacco Smoke |  |  |  | Y
|  |  | 803.3.1.8 Building Entrances |  |  |  | Y
|  |  |  | 803.3.1.8.1 Scraper Surface |  |  | Y
|  |  |  | 801.3.1.8.2 Absorption Surface |  |  | Y
|  |  |  | 801.3.1.8.3 Finishing Surface |  |  | Y
|  |  | 803.3.1.9 Guest Room Preoccupancy Outdoor Air Purge Cycle |  |  |  | Y
|  |  | 803.3.1.10 Preoccupancy Ventilation Control |  |  |  | Y
|  | 801.3.2 Thermal Environmental Conditions for Human Occupancy |  |  |  |  | Y
|  | 801.3.3 Acoustical Control |  |  |  |  | Y
|  |  | 801.3.3.1 Documentation |  |  |  | Y
|  |  |  | 801.3.3.1.1 Test Methods |  |  | Y
|  |  | 801.3.3.2 Interior Background Noise Requirements |  |  |  | Y
|  |  |  | 801.3.3.2.1 High-Noise Exterior Events |  |  | Y
|  |  |  | 801.3.3.2.2 Conformance |  |  | Y
[5 empty] | a. Design—Section 801.3.3.2.3 |  | Y | Identify only one conformance method: a. Design -or- b. Testing
[5 empty] | b. Testing—Section 801.3.3.2.4 |  | N
|  |  |  | 801.3.3.2.3 Interior Background Noise—Design |  |  | Y
[5 empty] | 801.3.3.2.3.1 Building Envelope |  | Y
[5 empty] | 801.3.3.2.3.2 Interior Systems |  | Y
[5 empty] | 801.3.3.2.3.3 Penetrations and Fenestrations |  | Y
[5 empty] | 801.3.3.2.3.4 Inspection |  | Y
|  |  |  | 801.3.3.2.4 Interior Background Noise—Testing |  |  | N | N/A - Testing Conformance Option Not Selected
|  |  | 801.3.3.3 Interior Sound Transmission |  |  |  | Y
|  |  |  | 801.3.3.3.1 Conformance |  |  | Y
[5 empty] | a. Design—Section 801.3.3.3.2 |  | Y | Identify only one conformance method: a. Design -or- b. Testing
[5 empty] | b. Testing—Section 801.3.3.3.3 |  | N
|  |  |  | 801.3.3.3.2 Interior Sound Transmission—Design |  |  | Y
[5 empty] | 801.3.3.3.2.1 Inspection |  | Y
|  |  |  | 801.3.3.3.3 Interior Sound Transmission—Testing |  |  | N | N/A - Testing Conformance Option Not Selected
|  |  | 801.3.3.4 Interior Sound Reverberation |  |  |  | Y
|  |  | 801.3.3.5 Property Line Sound Levels |  |  |  | Y
|  |  |  | 801.3.3.5.1 Property Line Sound Levels—Design |  |  | Y | Identify only one conformance method: 801.3.3.5.1 Design -or- 801.3.3.5.2 Testing
|  |  |  | 801.3.3.5.2 Property Line Sound Levels—Testing |  |  | N
|  | 801.3.4 Soil-Gas Control |  |  |  |  | Y
|  |  | 801.3.4.1 Soil-Gas Control Systems |  |  |  | Y | Select either 801.3.4.1 -OR- 801.3.4.2
|  |  |  | 801.3.4.1.1 Soil-Gas Barriers |  |  | Y
|  |  |  | 801.3.4.1.2 Gas-Permeable Layer and Soil-Gas Conveyance |  |  | Y
[5 empty] | 801.3.4.1.2.1 Soil-Gas Conveyance Clearance and Dimension |  | Y
[5 empty] | 801.3.4.1.2.2 Connections to Exhaust Vent Pipes |  | Y
|  |  |  | 801.3.4.1.3 Soil-Gas Exhaust Vent Pipe |  |  | Y
|  |  | 801.3.4.2 Alternative Methods of Soil-Gas Control |  |  |  | N | Not Applicable - Alternative Method Not Selected
|  | 801.3.5 Lighting Quality |  |  |  |  | Y
|  |  | 801.3.5.1 Enclosed Office Spaces |  |  |  | Y
|  |  | 801.3.5.2 Multioccupant Spaces |  |  |  | Y
|  | 801.3.6 Moisture Control |  |  |  |  | Y
|  |  | 801.3.6.1 Exterior Building Envelope |  |  |  | Y
|  |  | 801.3.6.2 Humid Spaces |  |  |  | Y
|  |  |  | 801.3.6.2.1 |  |  | Y
|  |  |  | 801.3.6.2.2 |  |  | Y
|  |  | 801.3.6.3 Flashing of Fenestration, Door Assemblies, Mechanical Equipment, and Other Penetrations of Building Envelope |  |  |  | Y
|  | 801.3.7 Glare Control |  |  |  |  | Y | Note: Exception 1 applies to all of Virginia
|  | 801.3.8 Occupant Override |  |  |  |  | Y
| 801.4 Prescriptive Option | [5 empty] | Y
|  | 801.4.1 Daylighting |  |  |  |  | Y
|  |  | 801.4.1.1 Daylighting in Large Spaces Directly Under a Roof and Having High Ceilings |  |  |  | Y
|  |  |  | 801.4.1.1.1 Minimum Daylight Area |  |  | Y
|  |  |  | 801.4.1.1.2 Visible Transmittance of Skylights and Roof Monitors |  |  | Y
|  |  |  | 801.4.1.1.3 Skylight Optical Diffusion Characteristics |  |  | Y
|  |  | 801.4.1.2 Minimum Sidelighting Effective Aperture |  |  |  | Y
|  |  | 801.4.1.3 Shading for Offices |  |  |  | Y
|  | 801.4.2 Materials |  |  |  |  | Y
|  |  | 801.4.2.1 Adhesives and Sealant |  |  |  | Y
|  |  |  | 801.4.2.1.1 Emissions Requirements |  |  | Y
|  |  |  | 801.4.2.1.2 VOC Content Requirements |  |  | Y
|  |  | 801.4.2.2 Paints and Coatings |  |  |  | Y
|  |  |  | 801.4.2.2.1 Emissions Requirements |  |  | Y
|  |  |  | 801.4.2.2.2 VOC Content Requirements |  |  | Y
|  |  | 801.4.2.3 Floor Covering Materials |  |  |  | Y
|  |  |  | 801.4.2.3.1 Deemed to Comply |  |  | Y
|  |  | 801.4.2.4 Composite Wood, Wood Structural Panel and Agrifiber Products |  |  |  | Y
|  |  | 801.4.2.5 Office Furniture Systems and Seating |  |  |  | Y
|  |  |  | 801.4.2.5.1—95% comply with ANSI/BIFMAX7.1 |  |  | Y
|  |  |  | 801.4.2.5.2—50% comply with Section 7.6.2 of ANSI/BIFMA e3 |  |  | Y
|  |  | 801.4.2.6 Ceiling and Wall Assemblies and Systems |  |  |  | Y
|  |  |  | 801.4.2.6.1 Deemed to Comply |  |  | Y
|  |  | 801.4.2.7 Insulation |  |  |  | Y
|  | 801.4.3 Lighting for Presentations |  |  |  |  | Y
| 801.5 Performance Option | [5 empty] | N | Not Applicable - Perfomance Options Not Selected
|  | 801.5.1 Daylight Simulation |  |  |  |  | N | N/A - Perfomance Daylighting Option Not Selected
|  |  | 801.5.1.1 Minimum Daylight |  |  |  | N | N/A - Perfomance Daylighting Option Not Selected
|  |  | 801.5.1.2 Excessive Sunlight |  |  |  | N | N/A - Perfomance Daylighting Option Not Selected
|  | 801.5.2 Materials |  |  |  |  | N | N/A - Perfomance Materials Option Not Selected
|  | 801.5.3 Lighting for Presentations |  |  |  |  | N | N/A - Perfomance Lighting Option Not Selected
Chapter 9 - Materials and Resources
| 901.2 Compliance | [5 empty] | Y
|  | a. Prescriptive Option, Section 701.4 |  |  |  |  | Y | Identify only one compliance path: a. Prescriptive -OR- b. Performance
|  | b. Performance Option, Section 701.5 |  |  |  |  | N
| 901.3 Mandatory Provisions | [5 empty] | Y
|  | 901.3.1 Construction Waste Management |  |  |  |  | Y
|  |  | 901.3.1.1 Diversion |  |  |  | Y
|  |  | 901.3.1.2 Total Waste |  |  |  | Y
|  |  | 901.3.1.3 Construction Waste Management Plan |  |  |  | Y
|  | 901.3.2 Extracting, Harvesting, and/or Manufacturing |  |  |  |  | Y
|  | 901.3.3 Refrigerants |  |  |  |  | Y
|  | 901.3.4 Areas for Storage of Collection of Recyclables and Discarded Goods |  |  |  |  | Y
|  |  | 901.3.4.1 Recyclables |  |  |  | Y
|  |  | 901.3.4.2 Reusable Goods |  |  |  | Y
|  |  | 901.3.4.3 Fluorescent and High Intensity Discharge (HID) Lamps and Ballasts |  |  |  | Y
|  |  | 901.3.4.4 Electronics and Batteries |  |  |  | Y
|  | 901.3.5 Mercury Content Levels of Lamps |  |  |  |  | Y
| 901.4 Prescriptive Option | [5 empty] | Y
|  | 901.4.1 Reduced Impact Materials |  |  |  |  | Y
|  |  | 901.4.1.1 Recycled Content and Salvaged Material Content |  |  |  | Y
|  |  |  | 901.4.1.1.1 Recycled Content |  |  | Y
|  |  |  | 901.4.1.1.2 Salvaged Material Content |  |  | Y
|  |  | 901.4.1.2 Regional Materials |  |  |  | Y
|  |  | 901.4.1.3 Biobased Products |  |  |  | Y
|  |  | 901.4.1.4 Multiple-Attribute Product Declaration or Certification |  |  |  | Y
|  |  |  | 901.4.1.4.1 Industry-Wide Declaration |  |  | Y
|  |  |  | 901.4.1.4.2 Product-Specific Declaration |  |  | Y
|  |  |  | 901.4.1.4.3 Third-Party Multi-attribute Certification |  |  | Y
|  |  |  | 901.4.1.4.4 Product Life Cycle |  |  | Y
| 901.5 Performance Option | [5 empty] | N | Not Applicable - Performance Option Not Selected
|  | 901.5.1 Life-Cycle Assessment |  |  |  |  | N | Not Applicable - Performance Option Not Selected
|  |  | 901.5.1.1 LCA Performance Metric |  |  |  | N | Not Applicable - Performance Option Not Selected
|  |  | 901.5.1.2 Procedure |  |  |  | N | Not Applicable - Performance Option Not Selected
|  |  | 901.5.1.3 Reporting |  |  |  | N | Not Applicable - Performance Option Not Selected
Chapter 10 - Construction and Plans for Operation
| 1001.3 Mandatory Provisions | [5 empty] | Y
|  | 1001.3.1 Construction |  |  |  |  | Y
|  |  | 1001.3.1.1 Building Systems Functional and Performance Testing |  |  |  | Y
|  |  |  | 1001.3.1.1.1 FPT Requirements |  |  | Y
[5 empty] | 1001.3.1.1.1.1 Activities Prior to Building Permit for Facilities |  | Y
[5 empty] | 1001.3.1.1.1.2 Activities Prior to Occupancy for Facilities |  | Y
[5 empty] | 1001.3.1.1.1.3 Documentation |  | Y
|  |  |  | 1001.3.1.1.2 Acoustical Control |  |  | Y
[5 empty] | 1001.3.1.1.2.1 Acoustical Field Measurement |  | N | N/A - Testing Conformance Option Not Selected
[6 empty] | 1001.3.1.1.2.1.1 Interior Background Sound Levels | N | N/A - Testing Conformance Option Not Selected
[6 empty] | 1001.3.1.1.2.1.2 Interior Sound Transmission | N | N/A - Testing Conformance Option Not Selected
[6 empty] | 1001.3.1.1.2.1.3 Property Line Sound | N | N/A - Testing Conformance Option Not Selected
|  |  | 1001.3.1.2 Building Project Commissioning (Cx) Process |  |  |  | Y
|  |  |  | 1001.3.1.2.1 Systems to be Commissioned |  |  | Y
|  |  |  | 1001.3.1.2.2 Cx Activities Prior to Building Permit |  |  | Y
|  |  |  | 1001.3.1.2.3 Cx Activities Prior to Building Occupancy |  |  | Y
|  |  |  | 1001.3.1.2.4 Postoccupancy Cx Activities |  |  | Y
|  |  | 1001.3.1.3 Project Cx Documents |  |  |  | Y
|  |  |  | 1001.3.1.3.1 Cx Plan |  |  | Y
|  |  |  | 1001.3.1.3.2 Design Review Report |  |  | Y
|  |  |  | 1001.3.1.3.3 Preliminary Cx Report |  |  | Y
|  |  |  | 1001.3.1.3.4 Final Cx Report |  |  | Y
|  |  |  | 1001.3.1.3.5 Building Envelope Air-Tightness |  |  | Y
|  |  |  | 1001.3.1.3.6 Documentation |  |  | Y
|  |  | 1001.3.1.5 IAQ Construction Management |  |  |  | Y
|  |  | 1001.3.1.6 Moisture Control |  |  |  | Y
|  |  | 1001.3.1.7 Construction Activity Pollution Prevention: Idling of Construction Vehicles |  |  |  | Y
|  |  | 1001.3.1.8 Construction Activity Pollution Prevention: Protection of Occupied Areas |  |  |  | Y
|  |  | 1001.3.1.9 Soil-Gas Control |  |  |  | Y
|  |  | 1001.3.1.10 Construction Waste Management |  |  |  | Y
|  |  |  | 1001.3.1.10.1 Collection |  |  | Y
|  |  |  | 1001.3.1.10.2 Documentation |  |  | Y
|  | 1001.3.2 Plans for Operation |  |  |  |  | Y
|  |  | 1001.3.2.1 High-Performance Building Operation Plan |  |  |  | Y
|  |  |  | 1001.3.2.1.1 Sight Sustainability |  |  | Y
|  |  |  | 1001.3.2.1.2 Water Use Efficiency |  |  | Y
[5 empty] | 1001.3.2.1.2.1 Initial M&V |  | Y
[5 empty] | 1001.3.2.1.2.2 Track and Assess Water Use |  | Y
[5 empty] | 1001.3.2.1.2.3 Documentation of Water Use |  | Y
|  |  |  | 1001.3.2.1.3 Energy Efficiency |  |  | Y
[5 empty] | 1001.3.2.1.3.1 Initial M&V |  | Y
[5 empty] | 1001.3.2.1.3.2 Track and Assess Energy Consumption |  | Y
[5 empty] | 1001.3.2.1.3.3 Documentation of Energy Efficiency |  | Y
|  |  |  | 1001.3.2.1.4 IAQ |  |  | Y
[5 empty] | 1001.3.2.1.4.1 Outdoor Airflow Measurement |  | Y
[5 empty] | 1001.3.2.1.4.2 Outdoor Airflow Scheduling |  | Y
[5 empty] | 1001.3.2.1.4.3 Outdoor Airflow Documentation |  | Y
[5 empty] | 1001.3.2.1.4.4 IAQ |  | Y
[5 empty] | 1001.3.2.1.4.5 Building Green Cleaning Plan |  | Y
[5 empty] | 1001.3.2.1.4.6 Moisture Measurement |  | Y
[5 empty] | 1001.3.2.1.4.7 Documentation of all M&V Data |  | Y
|  |  |  | 1001.3.2.1.5 Indoor Environmental Quality Survey |  |  | Y
|  |  | 1001.3.2.2 Maintenance Plan |  |  |  | Y
|  |  | 1001.3.2.3 Service Life Plan |  |  |  | Y
|  |  | 1001.3.2.4 Transportation Management Plan |  |  |  | Y
|  |  |  | 1001.3.2.4.1 All Building Projects |  |  | Y
|  |  |  | 1001.3.2.4.2 Owner-Occupied Building Projects or Portions of Building Projects |  |  | Y
|  |  |  | 1001.3.2.4.3 Building Tenant |  |  | Y